water proof LED light for cold storage use

Room height 7 meter 55w 45square meter each 30w 25-30 square meter each 20w 20square meter each 9-11 meter height we suggest use 100w LED